ROBUST STUDY SUMMARY - Persistence

| Item | Yes | No |
| --- | --- | --- |
| Reference: YONEZAWA,Y.; URUSHIGAWA,Y.; MASUNAGA,S.; MATSUI,Y.; HIRAI,M.; TANAKA,M.; BIODEGRADABILITY OF LINEAR ALIPHATIC ALCOHOLS BY ACTIVATED SLUDGE.; KOGAI SHIGEN KENKYUSHO IHO.; 11:77-82.; 1981 |
| Test Substance CAS # and name (specify, but do not assess this item): 112-30-1 1-Decanol |
| Substance purity reported? (Y/N and specify) | X |  |
| Method |
| References (Y/N) |  | X |
| OECD, EU, national, or other standard method? (Y/N) |  | X |
| If not a standard method, justification of the method/protocol provided? (Y/N) |  | X |
| Test design / conditions |
| Study type (e.g., hydrolysis, biodegradation, etc. – specify, but do not assess):biodegradation |
| Conditions type (aerobic or anaerobic - specify, but do not assess): aerobic |
| Test medium (air, water, soil, or sediment - specify, but do not assess):water |
| Information on stability of the substance in the media of concern available? (do not assess this item) n/a |
| Information on controls (Y/N and specify, positive or negative) |  | X |
| Number of replicates (Y/N and specify) |  | X |
| Temperature (Y/N and specify) 25 °C | X |  |
| Test duration (Y/N and specify) |  | X |
| Analytical method / technique used (Y/N) GC-MS/FID, HPLC | X |  |
| For photodegradation only |
| Reactants of gas-phase reactions (specify, but do not assess this item) |
| Light source (Y/N and specify) |  |  |
| Light spectrum and/or relative intensity based on sunlight intensity (Y/N) |  |  |
| For hydrolysis only |
| Measured concentrations reported? (Y/N) |  |  |
| pH values reported? (Y/N and specify) |  |  |
| For biodegradation only |
| Ready or inherent biodegradation? (specify, but do not assess this item): |
| Substance concentration (Y/N) 0.47 mM | X |  |
| Inoculum source (Y/N) | X |  |
| Inoculum concentration or number of microorganisms (Y/N) 500 mg/L | X |  |
| Results |
| Endpoints / values / units (do not assess this item): 1st order rate constant = 0.0071 /hr |
| Information on breakdown products available? (do not assess this item) n/a |
| Overall score: 6/12 = 50 % |
| EC Reliability code: 3 |
| Reliability category (high, satisfactory, low): low |
| Comments: In Japanese. Score = 50 %. No mention on references for the test. The substance of concern is readily degradable in 4 days, one may assume that test duration was long enough for biodegradation, although no such data was reported. |