PAGE  
1

ROBUST STUDY SUMMARY – Persistence



	Item
	Yes
	No

	Reference: 8272MSDS006


	Test Substance   CAS # and name (specify, but do not assess this item):   68002-20-0; 1,3,5-Triazine-2,4,6-triamine, polymer with formaldehyde, methylated

	Substance purity reported? (Y/N and specify) 
	
	X

	Method

	References (Y/N)
	X
	

	OECD, EU, national, or other standard method? (Y/N) OECD 301D
	X
	

	If not a standard method, justification of the method/protocol provided? (Y/N)
	n/a
	

	Test design / conditions 

	Study type (e.g., hydrolysis, biodegradation, etc.  – specify, but do not assess):

	Conditions type (aerobic or anaerobic - specify, but do not assess):

	Test medium (air, water, soil, or sediment - specify, but do not assess):

	Information on stability of the substance in the media of concern available? (do not assess this item)

	Information on controls (Y/N and specify, positive or negative) positive
	X
	

	Number of replicates (Y/N and specify) triplicate
	X
	

	Temperature (Y/N and specify)  21 deg C
	X
	

	Test duration (Y/N and specify)   28d
	X
	

	Analytical method / technique used (Y/N)
	X
	

	For photodegradation only

	Reactants of gas-phase reactions (specify, but do not assess this item)

	Light source (Y/N and specify)
	
	

	Light spectrum and/or relative intensity based on sunlight intensity (Y/N)
	
	

	For hydrolysis only

	Measured concentrations reported? (Y/N)
	
	

	pH values reported? (Y/N and specify)  
	
	

	For biodegradation only

	Ready or inherent biodegradation? (specify, but do not assess this item) Ready

	Substance concentration (Y/N) 2.12mg/L
	X
	

	Inoculum source (Y/N)
	X 
	

	Inoculum concentration or number of microorganisms (Y/N)
	X
	

	Results

	Endpoints / values / units (do not assess this item): 47.2% after 28d

	Information on breakdown products available? (do not assess this item) No

	Overall score:  10/11=91%

	EC Reliability  code: 1

	Reliability category (high, satisfactory, low):  High

	Comments:



